Specification

Extrusion: ROUND 36



1. The extrusion shall be made of aluminum alloy EN AW 6061.
2. The extrusion shall be available in following surface finishes:
	* Blank
	* Anodized natural (thickness 15µm)
	* Anodized black (thickness 15µm)
	* Coated with polyester powder-coating in all standard RAL-colors
3. The extrusion shall have following dimensions: diameter 36mm.
4. The extrusion shall fit a LED carrying profile with following dimensions: 22mm x13mm.
5. This LED carrying profile shall fit a PCB of maximum 17mm.
6. The extrusion shall be available in lengths up to 6m.
7. The extrusion itself shall weigh max. 2,156 kg/m
8. The extrusion shall be compatible with mounting clips. These mounting clips shall serve to set the angle of the profile.
9. The extrusion shall have a compatible fully closed endcap.
10. The extrusion shall have compatible endcap with hole for cable.
11. The extrusion shall have a compatible PMMA cover.