
Specification

Extrusion: TRIANG 19



1. The extrusion shall be made of aluminum alloy EN AW 6061.
2. The extrusion shall be available in following surface finishes:
   * Blank
   * Anodized natural (thickness 15µm)
   * Anodized black (thickness 15µm)
   * Coated with polyester powder-coating in all standard RAL-colors
3. The extrusion shall have following dimensions: 19mm x 19mm.
4. The angle between the surface to position the PCB and the surface to mount the profile shall be an angle of 45°.
5. The extrusion shall fit a PCB with a width of maximum 10mm.
6. The extrusion shall be available in lengths up to 6m.
7. The extrusion shall be compatible with an extruded PMMA cover.
8. The extrusion shall have a compatible fully closed endcap.
9. The extrusion shall have a compatible endcap with a hole for a cable.